## Konfiguration (hidden)
StdVorlage |  |  | ProtokollTypen | DPTypen | Blatt | Bereich | Zeile | Spalte | DPName | DPE | DPFkt | ArchivTyp | DPTyp | Offset | Blatt | Bereich | Zeile | Spalte | Marker | AutoFormat | Tagesprotokoll | Tagesprotokoll(Intervall) | Tagesprotokoll(Einheit) | Monatsprotokoll | Monatsprotokoll(Intervall) | Monatsprotokoll(Einheit)
DateiTyp | Protokoll |  | Tagesprotokoll |  | 2 | Header | 19 | 0 | System1:W_P01_L_G1 | in.messwert | Min | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 4 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MIN | 1 | 3 | System1:W_P01_L_G1.in.messwert.C3.MIN | 1 | 4
Format | Standardprotokoll |  | Monatsprotokoll |  | 2 | Data | 30 | 0 | System1:W_P01_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 4 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MIN | 1 | 4
Version | v3.3.1 |  |  |  | 2 | Footer | 62 | 0 | System1:W_P01_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 4 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MIN | 1 | 4
Seitenansicht | TRUE |  |  |  | 2 | Min | 64 | 0 | System1:W_P01_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 4 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MIN | 1 | 4
ProtokollTyp | Monatsprotokoll |  |  |  | 2 | Max | 65 | 0 | System1:W_P01_L_G1 | in.messwert | Max | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 5 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MAX | 1 | 3 | System1:W_P01_L_G1.in.messwert.C3.MAX | 1 | 4
Von | 2011-05-01 |  |  |  | 2 | Average | 66 | 0 | System1:W_P01_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 5 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MAX | 1 | 4
Bis | 2011-06-01 |  |  |  | 2 | Sum | 67 | 0 | System1:W_P01_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 5 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MAX | 1 | 4
Intervall | 1 |  |  |  | 2 | Page End | 68 | 0 | System1:W_P01_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 5 | FALSE | 0 | System1:W_P01_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G1.in.messwert.C3.MAX | 1 | 4
Intervall Einheit | 4 | [7 empty] | System1:W_P01_L_G2 | in.messwert | Min | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 6 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MIN | 1 | 3 | System1:W_P01_L_G2.in.messwert.C3.MIN | 1 | 4
Periode | 1 | [7 empty] | System1:W_P01_L_G2 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 6 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MIN | 1 | 4
Periode Einheit | 6 | [7 empty] | System1:W_P01_L_G2 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 6 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MIN | 1 | 4
Passwort | [8 empty] | System1:W_P01_L_G2 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 6 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MIN | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MIN | 1 | 4
Min Color | 65280 | [7 empty] | System1:W_P01_L_G2 | in.messwert | Max | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 7 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MAX | 1 | 3 | System1:W_P01_L_G2.in.messwert.C3.MAX | 1 | 4
Max Color | 255 | [7 empty] | System1:W_P01_L_G2 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 7 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MAX | 1 | 4
User | Kunde | [7 empty] | System1:W_P01_L_G2 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 7 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MAX | 1 | 4
RequestType | Manual | [7 empty] | System1:W_P01_L_G2 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 7 | FALSE | 0 | System1:W_P01_L_G2.in.messwert.C2.MAX | 1 | 4 | System1:W_P01_L_G2.in.messwert.C3.MAX | 1 | 4
LogChanges | FALSE | [7 empty] | System1:W_P02_L_G1 | in.messwert | Min | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 8 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MIN | 1 | 3 | System1:W_P02_L_G1.in.messwert.C3.MIN | 1 | 4
CreationDate | 2011-07-15 08:26 | 2011-07-15 08:26 | [6 empty] | System1:W_P02_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 8 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 8 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 8 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Max | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 9 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MAX | 1 | 3 | System1:W_P02_L_G1.in.messwert.C3.MAX | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 9 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MAX | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 9 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MAX | 1 | 4
[9 empty] | System1:W_P02_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 9 | FALSE | 0 | System1:W_P02_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P02_L_G1.in.messwert.C3.MAX | 1 | 4
[9 empty] | System1:W_P03_L_G1 | in.messwert | Min | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 10 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MIN | 1 | 3 | System1:W_P03_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P03_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 10 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P03_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 10 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MIN | 1 | 4
[9 empty] | System1:W_P03_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 10 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MIN | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MIN | 1 | 4
Kopf / Fußzeilen | [8 empty] | System1:W_P03_L_G1 | in.messwert | Max | 4 | RO_WV_GRUNDWASSER | 0 | 2 | Data | 0 | 11 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MAX | 1 | 3 | System1:W_P03_L_G1.in.messwert.C3.MAX | 1 | 4
Blatt | Bereich | Text | [6 empty] | System1:W_P03_L_G1 | in.messwert | Min | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Min | 0 | 11 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MAX | 1 | 4
2 | LeftHeader | [Reporttype] | [6 empty] | System1:W_P03_L_G1 | in.messwert | Max | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Max | 0 | 11 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MAX | 1 | 4
2 | LeftHeader | [From] | [6 empty] | System1:W_P03_L_G1 | in.messwert | Average | 1 | RO_WV_GRUNDWASSER | 0 | 2 | Average | 0 | 11 | FALSE | 0 | System1:W_P03_L_G1.in.messwert.C2.MAX | 1 | 4 | System1:W_P03_L_G1.in.messwert.C3.MAX | 1 | 4
2 | LeftHeader | [To]
3 | LeftHeader | [Reporttype]
3 | LeftHeader | [From]
3 | LeftHeader | [To]
4 | LeftHeader | [Reporttype]
4 | LeftHeader | [From]
4 | LeftHeader | [To]

## GWPW_Stand
Standardprotokoll
DP |  |  | System1:W_P01_L_G1 | System1:W_P01_L_G1 | System1:W_P01_L_G2 | System1:W_P01_L_G2 | System1:W_P02_L_G1 | System1:W_P02_L_G1 | System1:W_P03_L_G1 | System1:W_P03_L_G1
DPE |  |  | in.messwert | in.messwert | in.messwert | in.messwert | in.messwert | in.messwert | in.messwert | in.messwert
DPT |  |  | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER | RO_WV_GRUNDWASSER
Function |  |  | Min | Max | Min | Max | Min | Max | Min | Max
Comment |  |  | WV GWPW Friesnau Grundwasserstand 1 Messwert | WV GWPW Friesnau Grundwasserstand 1 Messwert | WV GWPW Friesnau Grundwasserstand 2 Messwert | WV GWPW Friesnau Grundwasserstand 2 Messwert | WV GWPW Münigen 1 Grundwasserstand Messwert | WV GWPW Münigen 1 Grundwasserstand Messwert | WV GWPW Münigen 2 Grundwasserstand Messwert | WV GWPW Münigen 2 Grundwasserstand Messwert
Alias
Format |  |  | %4.2f | %4.2f | %4.2f | %4.2f | %4.2f | %4.2f | %4.2f | %4.2f
Unit |  |  | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M.
AutoFormat |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ArchivTyp |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Min/Max mark |  |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Result Query
Result Function |  |  | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average | Min¦Max¦Average
Offset |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Offset Time |  |  | 2011-05-01 | 2011-05-01 | 2011-05-01 | 2011-05-01 | 2011-05-01 | 2011-05-01 | 2011-05-01 | 2011-05-01
Tools
Header
| MinMaxMark |  | true | true | true | true | true | true | true | true
| Spaltenname |  | P01_L_G1_Min | P01_L_G1_Max | P01_L_G2_Min | P01_L_G2_Max | P02_L_G1_Min | P02_L_G1_Max | P03_L_G1_Min | P03_L_G1_Max
Kurvenname | Kurvenname |  | GWPW Friesnau Grundwasserstand 1 Min. | GWPW Friesnau Grundwasserstand 1 Max. | GWPW Friesnau Grundwasserstand 2 Min. | GWPW Friesnau Grundwasserstand 2 Max. | GWPW Münigen 1 Grundwasserstand Min. | GWPW Münigen 1 Grundwasserstand Max. | GWPW Münigen 2 Grundwasserstand Min. | GWPW Münigen 2 Grundwasserstand Max.
Grundwasserstände
|  |  | GWPW Friesnau | GWPW Friesnau | GWPW Friesnau | GWPW Friesnau | GWPW Münigen 1 | GWPW Münigen 1 | GWPW Münigen 2 | GWPW Münigen 2
|  |  | Grundwasserstand 1 | Grundwasserstand 1 | Grundwasserstand 2 | Grundwasserstand 2 | Grundwasserstand | Grundwasserstand | Grundwasserstand | Grundwasserstand
|  |  | Min. | Max. | Min. | Max. | Min. | Max. | Min. | Max.
| Beginn TT.05.JJJJ |  | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M. | m ü.M.
Ende TT.05.JJJJ
Data
2011-05-01 | #VALUE! | #VALUE! | 517.9099 | 518.4747 | 517.8247 | 518.3053 | 497.6565 | 497.7097 | 497.9075 | 498.1399
2011-05-02 | #VALUE! | #VALUE! | 517.8812 | 518.4662 | 517.8175 | 518.2322 | 497.6566 | 497.7118 | 497.9013 | 498.1351
2011-05-03 | #VALUE! | #VALUE! | 517.8808 | 518.4671 | 517.8219 | 518.2399 | 497.6545 | 497.7107 | 497.9427 | 498.1453
2011-05-04 | #VALUE! | #VALUE! | 517.8776 | 518.484 | 517.8299 | 518.3178 | 497.6575 | 497.8374 | 497.9213 | 498.1757
2011-05-05 | #VALUE! | #VALUE! | 517.9133 | 518.4719 | 517.8202 | 518.3196 | 497.6618 | 497.7105 | 497.9163 | 498.1977
2011-05-06 | #VALUE! | #VALUE! | 517.9026 | 518.4612 | 517.8362 | 518.2728 | 497.6574 | 497.7101 | 497.882 | 498.1363
2011-05-07 | #VALUE! | #VALUE! | 517.902 | 518.4604 | 517.8267 | 518.3038 | 497.6612 | 497.7128 | 497.8813 | 498.145
2011-05-08 | #VALUE! | #VALUE! | 517.8598 | 518.4766 | 517.8151 | 518.2771 | 497.6626 | 497.7115 | 497.9313 | 498.1678
2011-05-09 | #VALUE! | #VALUE! | 517.8944 | 518.4569 | 517.827 | 518.2757 | 497.6594 | 497.7117 | 497.9285 | 498.1054
2011-05-10 | #VALUE! | #VALUE! | 517.8783 | 518.4776 | 517.8278 | 518.2923 | 497.6589 | 497.7121 | 497.8613 | 498.1072
2011-05-11 | #VALUE! | #VALUE! | 517.8837 | 518.4753 | 517.8279 | 518.3151 | 497.6567 | 497.7131 | 497.9109 | 498.1196
2011-05-12 | #VALUE! | #VALUE! | 517.8787 | 518.4816 | 517.8297 | 518.279 | 497.6625 | 497.7119 | 497.9004 | 498.1657
2011-05-13 | #VALUE! | #VALUE! | 517.875 | 518.4773 | 517.8362 | 518.2881 | 497.6601 | 497.7088 | 497.9282 | 498.1351
2011-05-14 | #VALUE! | #VALUE! | 517.8846 | 518.481 | 517.8403 | 518.318 | 497.6567 | 497.7086 | 497.9216 | 498.1654
2011-05-15 | #VALUE! | #VALUE! | 517.8748 | 518.4803 | 517.8175 | 518.2245 | 497.6579 | 497.7131 | 497.8927 | 498.1044
2011-05-16 | #VALUE! | #VALUE! | 517.8628 | 518.4808 | 517.8128 | 518.2911 | 497.6693 | 497.7101 | 497.8838 | 498.0948
2011-05-17 | #VALUE! | #VALUE! | 517.8701 | 518.4738 | 517.8306 | 518.2908 | 497.6607 | 497.7104 | 497.9159 | 498.1232
2011-05-18 | #VALUE! | #VALUE! | 517.8985 | 518.4838 | 517.8367 | 518.3033 | 497.6576 | 497.8025 | 497.8883 | 498.1451
2011-05-19 | #VALUE! | #VALUE! | 517.8977 | 518.4626 | 517.8236 | 518.2795 | 497.6588 | 497.7096 | 497.8735 | 498.2063
2011-05-20 | #VALUE! | #VALUE! | 517.8828 | 518.4773 | 517.8461 | 518.234 | 497.6662 | 497.7039 | 497.9002 | 498.1274
2011-05-21 | #VALUE! | #VALUE! | 517.8667 | 518.4852 | 517.8188 | 518.3005 | 497.6569 | 497.7123 | 497.8855 | 498.1157
2011-05-22 | #VALUE! | #VALUE! | 517.8752 | 518.4809 | 517.811 | 518.3042 | 497.6593 | 497.7144 | 497.8929 | 498.125
2011-05-23 | #VALUE! | #VALUE! | 517.8703 | 518.4771 | 517.8389 | 518.3093 | 497.6596 | 497.711 | 497.8605 | 498.1409
2011-05-24 | #VALUE! | #VALUE! | 517.8615 | 518.4724 | 517.8348 | 518.2958 | 497.6658 | 497.7054 | 497.8244 | 498.0895
2011-05-25 | #VALUE! | #VALUE! | 517.8783 | 518.4815 | 517.8374 | 518.2677 | 497.6606 | 497.7134 | 497.8506 | 498.1364
2011-05-26 | #VALUE! | #VALUE! | 517.8656 | 518.4884 | 517.8554 | 518.2846 | 497.6669 | 497.7117 | 497.873 | 498.0847
2011-05-27 | #VALUE! | #VALUE! | 517.8748 | 518.4778 | 517.8145 | 518.3016 | 497.6622 | 497.7085 | 497.872 | 498.1097
2011-05-28 | #VALUE! | #VALUE! | 517.8874 | 518.4832 | 517.8447 | 518.2888 | 497.6606 | 497.7124 | 497.8175 | 498.0632
2011-05-29 | #VALUE! | #VALUE! | 517.8738 | 518.4785 | 517.8501 | 518.2844 | 497.6588 | 497.7097 | 497.8522 | 498.086
2011-05-30 | #VALUE! | #VALUE! | 517.8661 | 518.4803 | 517.8365 | 518.3138 | 497.658 | 497.7083 | 497.8956 | 498.1308
2011-05-31 | #VALUE! | #VALUE! | 517.8605 | 518.4771 | 517.8255 | 518.3075 | 497.6575 | 497.7109 | 497.8438 | 498.0909
Footer
Min | Minimum |  | 517.8598 | 518.4569 | 517.811 | 518.2245 | 497.6545 | 497.7039 | 497.8175 | 498.0632
Max | Maximum |  | 517.9133 | 518.4884 | 517.8554 | 518.3196 | 497.6693 | 497.8374 | 497.9427 | 498.2063
Average | Mittelwert |  | 517.8803 | 518.4759 | 517.8295 | 518.2877 | 497.66 | 497.7177 | 497.8889 | 498.1295
Sum | Summe
Page End
Note on C18: Konfigurier-Tools Button 1 Der Spaltenname wird aus dem DP-Namen in die Zeile Spaltenname geschrieben werden. (z.B. F01A) Button 2 Nachdem mit dem Button 1 der Spaltenname in die Zeile geschrieben wurde kann mit dem Button 2 dieser Name der Spalte zugeordnet werden. Button 3 Über diesen Button können die Spaltentexte aus dem DP-Langtext gesetzt werden.

## Grafik GW Min_Max_Friesnau
Grundwasserstände Friesnau Min/Max Werte
Cursor vor Speichern hierher setzen und auf ein Tabellenblatt wechseln!

## Grafik GW Min_Max_Müningen
Grundwasserstände Friesnau Min/Max Werte
Cursor vor Speichern hierher setzen und auf ein Tabellenblatt wechseln!